Kansas Elevator Safety Advisory Board

Meeting minutes

December 10, 2025

Call to Order:

Mike McAlister called the meeting to order at 10:01am

Present:

Cole Haston, Representative Tarwater, Senator Mark Petersen-online, Julie Garcia, George Werth, Brent Snyder, Jarrod Mann, Spencer Duncan-online, Todd Stanton-online, Mark Engholm

## Guests:

Jared Smith, Bill VanAusdall, Mike McAlister

Old Business

## Approval of Previous Minutes

The previous meeting minutes were approved with correction of a misspelling. Motion made and seconded; motion carried.

## Updates and Reports

The open elevator manufacturing position: Jacob Poteete completed his term and requested not to be reappointed. The Governor’s Office is in the process of refilling the position.

- Elevator Program Statistics (June–November 2025)

Jessica reported: New Contractor Applications: 2 New Inspector Applications: 0 New Mechanic Applications: 8 Permits: 105 Total Registered Elevators: 8,339 As of November 25: Contractors: 33 Inspectors: 24 Mechanics: 258 These are listed on the KSFM website.

## Correspondence and Regulatory Updates

Revised language on K.A.R. 605 (evidence of elevator service and maintenance agreements) was distributed following last meeting. No responses received; it will move forward.

New business:

5.     Review of rules and adopted changes per bylaws:
Updated KSFM forms to be released in late December or early January on website

## 6.      Board Officer Elections

Chairperson confirmed as Mark Engholm
No prior Vice Chair identified; nominations opened.

Chair Nomination: Mike McAllister nominated and approved unanimously.
Vice Chair Nomination: Jarrod Mann nominated and approved unanimously.

## 7.      Code and Safety Discussion: Door Lock Monitoring Requirement

The Board held an extended discussion regarding whether the ASME A17.1‑required Door Lock Monitoring (DLM) system should apply retroactively to older elevators.

Key points:
• Modern elevators (last ~25 years) already include DLM 
• Retrofits for older systems cost an estimated $10,000–$15,000 per elevator.
• Kansas statute limits retroactive enforcement unless a significant safety hazard is formally identified.
• Discussion included national accident examples and code history.
• Concerns noted regarding statutory thresholds for regulatory costs (>$1M triggers legislative approval).
• Additional data on accident statistics is needed. Motion: Conduct further research and revisit the issue at the next meeting. Motion seconded and approved.

## 8.     Variances update

Phillips County Courthouse: Repairs believed to be completed; awaiting finalized paperwork.
Samsung/City of DeSoto: Acceptance pending paperwork submission.

## 9.      Safety Concern: Unlicensed Elevator Repairs

An elevator nearly 100 years old was found with bypassed door switches and no door protection. KSFM condemned and red‑tagged the unit. An inspector has been contacted, and the unit is currently non-operational and under review.

10.     A demonstration of elevator model containing all safety mechanisms was presented

## 11.      Public Comments-none

## 12.      Motions Review and Votes

Three motions were formally reviewed and voted upon:
Election of Chair – Approved unanimously-Mike McAlister
Election of Vice Chair – Approved unanimously-Jarrod Mann
Motion to research Door Lock Monitoring issue further – Approved unanimously.

## 13.        Next Meeting

Date: February 11, 2026
Location: Docking building, 3rd floor conference rooms.
Note: Temporary room changes possible due to repairs.

## 14. 	Adjournment-10:25am

Meeting adjourned by motion and unanimous approval.